## NDO
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | O04846R
BOOKING IN REFERENCE | O04846
DESPATCH NOTE | 70192
CUSTOMER | Tewkesbury Borough Council Attn: Philip Grist
Environmental Health Dept. Gloucester Road Tewkesbury 'A' Gloucestershire GL20 5TT
DATE SAMPLES RECEIVED | 2020-09-04
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
20/08/(3)1N | 1609146 | 2020-08-03 | 2020-09-03 | 743 | 23.6292 | 12.3326 | 1.276
20/08/(3)2N | 1609147 | 2020-08-03 | 2020-09-03 | 743 | 12.0183 | 6.2726 | 0.649
20/08/5N | 1609148 | 2020-08-03 | 2020-09-03 | 743 | 20.87 | 10.8925 | 1.127
20/08/6N | 1609149 | 2020-08-03 | 2020-09-03 | 743 | 28.1106 | 14.6715 | 1.518
20/08/14N | 1609150 | 2020-08-03 | 2020-09-03 | 743 | 21.2959 | 11.1148 | 1.15
20/08/15N | 1609151 | 2020-08-03 | 2020-09-03 | 743 | 15.1664 | 7.9156 | 0.819
20/08/16N | 1609152 | 2020-08-03 | 2020-09-03 | 743 | 24.944 | 13.0188 | 1.347
20/08/20N | 1609153 | 2020-08-03 | 2020-09-03 | 743 | 4.1481 | 2.165 | 0.224
20/08/35N | 1609154 | 2020-08-03 | 2020-09-03 | 743 | 31.5179 | 16.4499 | 1.702
20/08/37N | 1609155 | 2020-08-03 | 2020-09-03 | 743 | 22.2218 | 11.598 | 1.2
20/08/38N | 1609156 | 2020-08-03 | 2020-09-03 | 743 | 21.907 | 11.4337 | 1.183
20/08/41N | 1609157 | 2020-08-03 | 2020-09-03 | 743 | 30.1476 | 15.7346 | 1.628
20/08/47N | 1609158 | 2020-08-03 | 2020-09-03 | 743 | 23.0551 | 12.0329 | 1.245
20/08/50N | 1609159 | 2020-08-03 | 2020-09-03 | 743 | 15.7034 | 8.1959 | 0.848
20/08/52N | 1609160 | 2020-08-03 | 2020-09-03 | 743 | 17.9997 | 9.3944 | 0.972
20/08/53N | 1609161 | 2020-08-03 | 2020-09-03 | 743 | 18.6108 | 9.7133 | 1.005
20/08/55N | 1609162 | 2020-08-03 | 2020-09-03 | 743 | 15.7775 | 8.2346 | 0.852
20/08/blank | 1609163 |  |  | 743 | 0.055555 | 0.028995 | 0.003
Laboratory Blank |  |  |  | 743 | 0.092591 | 0.048325 | 0.005
Comment: Results are not blank subtracted
Tube 1609161 contained a spider & web. Result may be compromised.
Tube 1609160 contained a spider. Result may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.037mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 50% TEA /Acetone |  |  | Analysed on UV CARY3
Analyst Name | Lauren Rose |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2020-09-15 |  | Date of Report |  | 2020-09-15
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.