## NDO
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | P07866R
BOOKING IN REFERENCE | P07866
DESPATCH NOTE | 70206
CUSTOMER | Tewkesbury Borough Council Attn: Philip Grist
Environmental Health Dept. Gloucester Road Tewkesbury 'A' Gloucestershire GL20 5TT
DATE SAMPLES RECEIVED | 2021-11-04
| Sample | Exposure Data |  |  |  |  | µg NO2
Location | Number | Date On* | Date Off* | Time* (hr.) | mg/m3 * | ppb * | on tube
21/10/(3)1N | 1849486 | 2021-10-08 | 2021-11-02 | 598 | 32.3728 | 16.896 | 1.407
21/10/(3)2N | 1849487 | 2021-10-08 | 2021-11-02 | 598 | 16.7271 | 8.7302 | 0.727
21/10/ 5N | 1849488 | 2021-10-08 | 2021-11-02 | 598 | 23.0314 | 12.0205 | 1.001
21/10/ 6N | 1849489 | 2021-10-08 | 2021-11-02 | 598 | 31.6595 | 16.5238 | 1.376
21/10/ 14N | 1849490 | 2021-10-06 | 2021-11-03 | 665 | 22.9455 | 11.9757 | 1.109
21/10/ 15N | 1849491 | 2021-10-06 | 2021-11-03 | 665 | 20.2557 | 10.5719 | 0.979
21/10/ 16N | 1849492 | 2021-10-06 | 2021-11-03 | 665 | 19.6971 | 10.2803 | 0.952
21/10/ 20N | 1849493 | 2021-10-08 | 2021-11-03 | 620 | 3.5729 | 1.8648 | 0.161
21/10/35N | 1849494 | 2021-10-08 | 2021-11-02 | 598 | 33.7993 | 17.6405 | 1.469
21/10/37N | 1849495 | 2021-10-08 | 2021-11-02 | 598 | 21.2367 | 11.0839 | 0.923
21/10/38N | 1849496 | 2021-10-08 | 2021-11-02 | 598 | 26.7357 | 13.9539 | 1.162
21/10/41N | 1849497 | 2021-10-08 | 2021-11-02 | 598 | 28.3003 | 14.7705 | 1.23
21/10/47N | 1849498 | 2021-10-08 | 2021-11-02 | 598 | 29.2666 | 15.2749 | 1.272
21/10/50N | 1849499 | 2021-10-08 | 2021-11-03 | 620 | 13.759 | 7.1811 | 0.62
21/10/52N | 1849501 | 2021-10-06 | 2021-11-03 | 665 | 20.6488 | 10.7771 | 0.998
21/10/53N | 1849502 | 2021-10-08 | 2021-11-02 | 596 | 17.5219 | 9.1451 | 0.759
21/10/55N | 1849503 | 2021-10-06 | 2021-11-03 | 665 | 21.8489 | 11.4034 | 1.056
21/10/56N | 1849504 | 2021-10-08 | 2021-11-02 | 602.5 | 12.9711 | 6.7699 | 0.568
21/10/57N | 1849505 | 2021-10-06 | 2021-11-02 | 639.5 | 21.128 | 11.0271 | 0.982
21/10/blank | 1849506 |  |  | 665 | 0.31035 | 0.16198 | 0.015
Laboratory Blank |  |  |  | 665 | 0.35173 | 0.18358 | 0.017
Comment: Results are not blank subtracted
Tube 1849502 contained a spider. Result may be compromised.
Tube 1849503 contained an insect. Result may be compromised.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±9.7% |  | Limit of Detection |  | 0.043mgNO2
The reported expanded uncertainty is based on a standard uncertainty multiplied by a factor of k=2, providing a level of confidence of approximately 95%. Uncertainty of measurement has not been applied to the reported results.
Tube Preparation: 50% TEA /Acetone |  |  | Analysed on UV CARY1
Analyst Name | Isra Otman |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2021-11-11 |  | Date of Report |  | 2021-11-11
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
Samples have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Data provided by the client and any subsequent calculations shall be indicated by an asterisk (*), these calculations and results are not within the scope of our UKAS accreditation. The results within this report relate only to the items tested. Any queries concerning data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.